## General Information
Laboratory
Technician
Treatment date
Information of NAC/NAL stock solurtion
Preparation date
6.667 μM NAC stock solution
6.667 μM NAL stock solution
Enter any comment or observations made during the run in the following section:
COMMENTS:

## Ref CTRL
NAC
Reaction time | Conc/ replicate | Peak Area at NAC | Peak Area (NAC) |  |  | Peak Area at dimmer of NAC (NAC-D) | Peak Area (NAC-D) |  |  | Ratio of NAC (NAC / (NAC + NAC-D)) | Ratio of NAC (NAC / (NAC + NAC-D)) |  |  | Criterion | Criterion met?
|  |  | mean | SD | CV |  | mean | SD | CV |  | mean | SD | CV
0hr |  |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #VALUE! | #VALUE! | #VALUE!
| r1 | xx |  |  |  | xx |  |  |  | #VALUE! |  |  |  | Ratio(%) of NAC> 90 | #VALUE!
| r2 | xx |  |  |  | xx |  |  |  | #VALUE!
| r3 | xx |  |  |  | xx |  |  |  | #VALUE!
24hr |  |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #VALUE! | #VALUE! | #VALUE!
| r1 | xx |  |  |  | xx |  |  |  | #VALUE! |  |  |  | Ratio(%) of NAC> 90 | #VALUE!
| r2 | xx |  |  |  | xx |  |  |  | #VALUE!
| r3 | xx |  |  |  | xx |  |  |  | #VALUE!
NAL
Reaction time | Conc/ replicate | Peak Area at NAL | Peak Area |  |  | Ratio of 24hr NAL (24hr / 0hr) | Ratio of 24hr NAL (24hr / 0hr) | [6 empty] | Criterion | Criterion met?
|  |  | mean | SD | CV |  | mean | SD | CV
0hr |  |  | #DIV/0! | #DIV/0! | #DIV/0!
| r1 | xx
| r2 | xx
| r3 | xx
24hr |  |  | #DIV/0! | #DIV/0! | #DIV/0! |  | #VALUE! | #VALUE! | #VALUE!
| r1 | xx |  |  |  | #VALUE! | [7 empty] | Ratio(%) of 24hr NAL> 90 | #VALUE!
| r2 | xx |  |  |  | #VALUE!
| r3 | xx |  |  |  | #VALUE!